## Slide 1
Gastonia, NC – Precision I/I Microdetection Study
Product. Service. Guarantee.

## Slide 2
A Smart, Scalable, &
Cents-a-able Strategy
for a healthy sewer system starts with Triage

## Slide 3
Gastonia, NC – Precision I/I Microdetection Study
Product. Service. Guarantee.

## Slide 4
Gastonia, NC – Precision I/I Microdetection Study
Product. Service. Guarantee.
PRECISION I&I MICRODETECTION – PINPOINT I&I
Purpose: Pinpoint the contributors of inflow and infiltration within adjacent manholes utilizing iTracker sensors and our auto analytics platform to determine RDII
iTracking vs Flow Monitoring
Flow monitoring measures flow;
iTracking pinpoints the sources of
I&I within a collection system to
efficiently use your SSES dollars to
find the 80% I&I within 20% of your
system that is leading to excess
treatment costs and overflows

## Slide 5
Gastonia, NC – Precision I/I Microdetection Study
Product. Service. Guarantee.
PRECISION I&I MICRODETECTION– PINPOINT I&I
iTrackers® monitor and record changes in wastewater volume as small as 1/10”
Deployed upstream of regional flow meters to record levels from 0-100% of the pipe ID.
Bridges the gap between flow meters and inspection CCTV camera equipment

## Slide 6
Gastonia, NC – Precision I/I Microdetection Study
Product. Service. Guarantee.
PRECISION I&I MICRODETECTION– PINPOINT I&I
Keys to success:
Rapid deployment of units
Measures RDII in same rain event
Rain gauges deployed to create local climate
30-60 day studies
Installations approximately every 800LF
Linking units to eachother to pinpoint I&I sources

## Slide 7
RAIN DATA
Weather Station: Gastonia, NC Adult Recreation Center Rain Gauge
October 30-31: 0 inches
November 1-30: 3.74 inches
December 1-12: 0.68 inches
Rainfall total for study period
Largest rain event
Repeatable response

## Slide 8
CHARTS / GRAPHS
HYDRAGRAPHS / FLOW APPROXIMATIONS – observed variation due to rain events – (MODerate/SEVERE)

## Slide 9
CHARTS / GRAPHS
Level connection analysis

## Slide 10
POPULATION TABLE

## Slide 11
FINAL MAP

## Slide 12
ACOUSTIC INSPECTION

## Slide 13
ACOUSTIC INSPECTION
Collapsed pipe
Root Blockage

## Slide 14
MANHOLE INSPECTIONS

## Slide 15
MANHOLE INSPECTIONS

## Slide 16
Overlaying the results

## Slide 17
analytics
Deliverables You Can Use
Geodatabase with all reports/pictures attached
Easy to understand reports
Industry accepted formats and calculators
Executive Write Ups and Conclusions

## Slide 18
Product. Service. Guarantee.